|  | QAI CLA 202 |
| --- | --- |

Quality and Accreditation Institute

Centre for Laboratory Accreditation

Change   Adapt   Improve

APPLICATION FORM

FOR

TESTING LABORATORIES

Issue No.: 02 						                             Issue Date: July 2019

CHANGE HISTORY

| Sl. No. | Doc No. | Current Issue No. | Revised Issue No. | Date of Issue | Reasons |
| --- | --- | --- | --- | --- | --- |
| 1 | CLA 202 | 01 | 02 | July 2019 (9 July 2019) | Fee structure removed from application form to make it applicable globally |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |

### CONTENTS

| Sl. No. | Title | Page No. |
| --- | --- | --- |
| 1 | Information & Instructions for completing an Application Form | 4 |
| 2 | Application Form | 5 |

Information & Instructions for Completing an Application Form

- Quality & Accreditation Institute (QAI)’s Centre for Laboratory Accreditation (CLA) offers accreditation services to testing laboratories both in India and overseas.

- A laboratory implementing the requirements of ISO/IEC 17025 is eligible to apply under testing laboratory accreditation program.

- Application shall be made in the prescribed form QAI CLA 202 only. Applicant laboratory is requested to submit the following:

- Soft copy of completed application forms

- Soft copy of self-assessment tool kit along with referenced documents

- Prescribed application fees

- Soft copy of signed QAI CLA 002 ‘Terms and Conditions for Obtaining and Maintaining

Accreditation/ Certification’

- Application form and self-assessment tool kit can be downloaded as a word file. Incomplete application may lead to delay in processing of your application.

- The applicant laboratory shall provide copy of appropriate document(s) in support of the information being provided in this application form.

- Laboratory is advised to familiarize itself with QAI CLA 201 ‘Information Brochure for Testing Laboratories’ and QAI CLA 002 ‘Terms and Conditions for Obtaining and Maintaining Accreditation/Certification’ before filling up this form.

- The applicant laboratory shall intimate QAI CLA about any change in the information provided in this application such as scope applied for accreditation, personnel and location etc. within 15 days from the date of changes.

Application form for Testing Laboratory Accreditation

We wish to apply for QAI CLA accreditation of our testing laboratory as per details given below:

Initial accreditation

Renew of accreditation

Date of first accreditation, if applicable ______________________________________________

1. 	Laboratory Details

| 1.1 | Name of the Laboratory ___________________________________________ |
| --- | --- |

Complete Address(s)______________________________________________

_______________________________________________________________

Telephone No. _____________________ E-mail ________________________

| 1.2 | Does the laboratory operate from different locations having same legal identity within the city? |  | Yes |  | No |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | If yes, whether application for accreditation covers all locations |  | Yes |  | No |  |
| 1.3 | Do you conduct Testing in the following Category |  |  |  |  |  |
|  | (if yes, please clearly indicate in the scope of accreditation, sl. no. 2.2, the test conducted) |
|  | a. | Site Facility (when undertaking testing at site of the customer) |  | Yes/No |
|  | b. | Permanent Facility |  | Yes/No |
|  | c. | Mobile Laboratory |  | Yes/No |

1.4		Name of the Parent Organisation ______________________________

(if laboratory is a part of a bigger organisation)

Telephone No. _____________________ E-mail ____________________

1.5	Legal identity of the laboratory and date of establishment _________________

(Please give registration number and name of authority who granted the registration. Copy of the certificate shall be enclosed)

1.6		Type of laboratory by service

Open to others		               Yes/No

Partly open to others		Yes/No

An in-house activity		Yes/No

1.9 	Other accreditations______________________________________________

2.	Details of Accreditation Sought

2.1 	Discipline of Testing for which accreditation is sought (Please put √ in the applicable box)

Testing:

|  | Biological |  |  |  | Mechanical |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Chemical |  |  |  | Radiological |  |
|  | Electrical |  |  |  | Non-Destructive |  |
|  | Electronic |  |  |  | Photometry |  |
|  | Fluid-Flow |  |  |  |  |  |

Food Testing

Veterinary Testing

2.2         Scope of Accreditation

| Sl. No. | Type of Samples examined/ Tested | Specific tests/ examination performed | Standard (method), Principle /Methodology or Technique used | Range of testing/ Limit of detection | %CV / MU (( ) |
| --- | --- | --- | --- | --- | --- |

Note 1.   	Laboratories performing site testing shall clearly identify the specific tests/

examination performed at site.

Note 2.                Laboratories are encouraged to provide estimates of Measurement of

Uncertainty (MU) / % CV. MU should be calculated at a confidence probability of 95%.

3. 	Organisation

3.1 	Senior Management (Name, Designation, Telephone, E-mail)

3.1.1 	Chief Executive/ Director/ Head of the laboratory _____________________

3.1.2 	Contact person for QAI-CLA ______________________ ________________

3.2 	Organisation Chart

3.2.1.	Indicate in an organisation chart the operating departments of the testing laboratory for which accreditation is being sought (please attach)

3.2.2	Indicate how the testing laboratory is related to its own parent organisation (where applicable)

3.3         Human Resources

3.3.1 	Details of staff

| Sl. No. | Name | Designation+ | Academic and Professional Qualifications* | Experience related to present work (in years) | Total Experience (in years) |
| --- | --- | --- | --- | --- | --- |

* Please clearly indicate the field of specialisation

4. 	Equipment and Reference Materials:

| Sl. No. | Name of equipment | Model/ type/ year of make | Receipt date & date placed in service | Range and accuracy | Date of last calibration | Calibration due on | Calibrated by |
| --- | --- | --- | --- | --- | --- | --- | --- |

List of major test equipment available for use:

List of reference materials available for use:

| Sl. No. | Name of reference material/ strain/ culture | Source | Date of expiry/ validity | Traceability |
| --- | --- | --- | --- | --- |

- Proficiency Testing:

Participation in PT / any other Inter Laboratory Comparison/EQAS (for details and requirements please refer to ISO/ IEC 17043)

| Sl. No. | Product/ Material | Details of Test(s)/ examination | Date of Testing/ examination | Organizing body | Performance in terms of z score or any other criteria | Corrective action taken (if required) |
| --- | --- | --- | --- | --- | --- | --- |

- Application Fees

  - Application fees (Rs).___________________________________________

  - DD/At par cheque number/ bank transfer reference number_____________

________________________________________________________________

- Declaration by the laboratory

##### We declare that

7.1	We are familiar with the terms and conditions of maintaining accreditation/certification (QAI

CLA 002), which is signed and enclosed with the application. We also undertake to abide by

them.

7.2	We agree to comply fully with the requirements of ISO 17025 for the accreditation of testing laboratory.

7.3	We agree to comply with accreditation procedures and pay all costs for any assessment carried out irrespective of the result.

7.4	We agree to co-operate with the assessment team appointed by QAI CLA for examination of all relevant documents by them and their visits to those parts of the laboratory that are part of the scope of accreditation.

7.5	We undertake to satisfy all national, regional and local regulatory requirements for operating the laboratory.

7.6	No adverse action has been initiated / taken against the laboratory in the past. (If yes, please provide the details with present status ………………………………………………………..)

7.7       All information provided in this application is true to the best of our knowledge and ability.

Signature of CEO/Laboratory Head/ Laboratory Director ___________________

Name & Designation _______________________________________________

Date & Place _____________________________________________________

Quality and Accreditation Institute

Centre for Laboratory Accreditation

416, Krishna Apra Plaza, Sector 18

Noida-201301, U.P., India

Tel.: +91-120 4113234

Website: www.qai.org.in

Twitter@QAI2017